## Slide 1
Q2 2025: 01/04/2025 – 24/06/2025
Core IDCC(c) Operational KPI report
External // run KPI report

## Slide 2: External // run KPI report
BD | Reason | Fallback/ Process failure
14/05/2025 | Several inputs from the TSO data merging and AACs missing – Massive delays, and the process ended up failing due to outdated AACs | Process failure
16/05/2025 | Bug in AMICA leads to duplications of nodes which is not supported by the current FBPCM | ID2 Domain AAC Fallback
Introduction, reporting period and limitations
Context
  According to Article 26(4) of the Core FB ID CCM, “Core TSOs shall continuously monitor the effects and the performance of the application of this methodology during the parallel run. And shall develop, in coordination with the Core regulatory authorities, the Agency and stakeholders, the monitoring and performance criteria and report on the outcome of this monitoring on quarterly basis in a report”.
  IDCC(c) external // run started on 17th of December 2024 and finished on the 24th of June 2025(~6 months). The results of IDCC(c) have been published on [JAO website]
Reporting period
  This report covers roughly 3 months (01/04/2025 – 24/06/2025) of IDCC(c) EXT //run results in the Core region, considering the go-live took place on the 25th June 2025.
  4 business days have been excluded from the computation of KPIs due to:
  For the business days abovementioned the IDCC(c) process failed or fallback was triggered due to the switch to prod environment. The problems identified were occasional, solved and a fix has been deployed.
  For information, the business days with an IDCF of 1:15 instead of 2:15: 29/04/2025, 05/05/2025
BD | Reason | Fallback/ Process failure
20/05/2025 | CB files not replaced automatically with the inputs from the previous process – Leading to unbounded domain closed with consistency constraints in the initial/final FB computation - Due to doublication of consistency constraints the process failed | Process failure
21/05/2025 | CB files not replaced automatically with the inputs from the previous process – Fallback triggered due to missing CB files | ID2 Domain AAC Fallback
AMICA – TSCNET tool for remedial actions' application
FBPCM – Flow-based Parameters Calculation Module
AAC – Already allocated capacities
FB – Flow-based

## Slide 3: External // run KPI report
Overview of the KPIs covered during the // run
ATC related KPIs
    Duration curve of Number of Core Oriented Bidding Zone Borders with Zero or Negative ID ATCs​
    Frequency of Zero and Negative ID ATCs by Oriented Core Bidding Zone Border​
      Delta comparison with IDCC(b) run at ~4:30
    Frequency of isolated Core Bidding Zones of zero (or negative) ID ATCs in import, export and both directions​
      Delta comparison with IDCC(b) run at ~4:30
    Mean positive ID ATCs by Oriented Core Bidding Zone Border
      Delta comparison with IDCC(b) run at ~4:30
    TSOs’ adjustment after validation
    Share of MTUs with intervention during IVA validation per TSO (IVA aggregations per TSO)
    Limiting elements
    Limiting constraints of the ATC domain​
      20 most limiting ATC constraints
      Mean and Max of ATC limiting constraints
      Mean and Max of ATC limiting constraints per TSO
      ATC Based Validation - Aggregations
    Most often used pre-solved CNECs​
      20 most limiting pre-solved constraints
      Mean and Max of pre-solved constraints
      Mean and Max of pre-solved constraints per TSO
    Net positions
    Min and Max Net Positions per Bidding Zone​
      Based on final FB domain
      Based on final ID ATC
    Reading Guide with a detail description of the KPIs available on [JAO]
Included only as of IDCC(c) go-live date

## Slide 4: External // run KPI report
Conclusions
  Core TSOs are glad to report the current process stability with ~94% of business days successfully completed.
  As presented in the Q1 report, the ATC related KPIs (ATCs + bidding zone isolation), which compare the available cross-zonal capacities at ~4:30 with and without IDCC(c) run, there is an overall "reflow effect" of the IDCC(c) calculation, in which the available capacity domain space is redistributed across all borders.
  Thus, lowering the frequency of zero and negative ATCs, leading to less bidding zone isolation frequency. This happens because there are reopened border directions in the IDCC(c) run that were once closed during IDCC(b) run for longer periods. Consequently, the ATC levels decrease on other borders (those who would be used if the considered borders were not reopened).
  In a nutshell, the "reflow effect" shows that more border directions are open more often with in general less positive ATCs, and less bidding zone isolation.
  When compared to the results of the Q1 external // run KPI report, there is:
    Typically lower frequency of zero and negative ATCs. However, there is a reflow effect, thus some border directions present an increase of the frequency of zero and negative ATCs. In addition, some of these with an high increase: AT>DE, FR>BE, FR>DE and SI>HR.
    Lower frequency of isolated bidding zones (BZ) in import direction, specifically high decrease for NL BZ. In general, lower frequency in both directions, and in export direction except for FR BZ with an high increase (~26%).
    Generally, slight increase of mean positive ATCs at Core level.
    IVAs were in general not often applied. These were however more often applied compared to Q1, since not all TSOs started performing the individual validation step by then. Although not often applied, the IVAs applied by MAVIR were ~1200 MW. For ELES, low levels of application (~25 MW), however applied as much as 3 full days in ~3 months.
    Same applies to the ATC-based validation (not all TSOs started performing the validation step before Q2), thus no comparison possible. For Q2, validations were often applied by TTG with ~1400 MW levels for NL>DE border direction.

## Slide 5: KPI 2A - Delta comparison with IDCC(b) run at ~4:30
Frequency of Zero and Negative ID ATCs by Oriented Core Bidding Zone Border​

## Slide 6: KPI 2
Frequency of Zero and Negative ID ATCs by Oriented Core Bidding Zone Border​

## Slide 7: KPI 3
Frequency of isolated Core Bidding Zones of zero (or negative) ID ATCs in import, export and both directions ​​

## Slide 8: KPI 3A - Delta comparison with IDCC(b) run at ~4:30
Frequency of isolated Core Bidding Zones of zero (or negative) ID ATCs in import, export and both directions ​​

## Slide 9: KPI 4
Mean positive ID ATCs by Oriented Core Bidding Zone Border

## Slide 10: KPI 4A - Delta comparison with IDCC(b) run at ~4:30
Mean positive ID ATCs by Oriented Core Bidding Zone Border

## Slide 11: KPI 4A - Delta comparison with IDCC(b) run at ~4:30
Mean positive ID ATCs by Oriented Core Bidding Zone Border

## Slide 12: KPI 5
Share of MTUs with intervention during IVA validation per TSO (IVA aggregations per TSO)

## Slide 13: KPI 6A & 6B - Limiting constraints of the ATC domain​
20 most limiting ATC constraints & Mean and Max of ATC limiting constraints

## Slide 14: KPI 6A & 6B - Limiting constraints of the ATC domain​
20 most limiting ATC constraints & Mean and Max of ATC limiting constraints

## Slide 15: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO - APG

## Slide 16: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO - Elia

## Slide 17: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – CEPS

## Slide 18: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – Tennet Germany

## Slide 19: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – TransnetBW

## Slide 20: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – Amprion

## Slide 21: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – 50Hertz

## Slide 22: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – RTE

## Slide 23: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – HOPS

## Slide 24: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – MAVIR

## Slide 25: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – Tennet Netherlands

## Slide 26: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – PSE

## Slide 27: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – Transelectrica

## Slide 28: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO – ELES

## Slide 29: KPI 6C - Limiting constraints of the ATC domain​
Mean and Max of ATC limiting constraints per TSO - SEPS

## Slide 30: KPI 6D
ATC Based Validation - Aggregations

## Slide 31: KPI 7A & 7B - Most often used pre-solved CNECs​
20 most limiting pre-solved constraints & Mean and Max of pre-solved constraints

## Slide 32: KPI 7A & 7B - Most often used pre-solved CNECs​
20 most limiting pre-solved constraints & Mean and Max of pre-solved constraints

## Slide 33: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO - APG

## Slide 34: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO - Elia

## Slide 35: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – CEPS

## Slide 36: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – Tennet Germany

## Slide 37: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO - TransnetBW

## Slide 38: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO - Amprion

## Slide 39: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – 50Hertz

## Slide 40: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – RTE

## Slide 41: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – HOPS

## Slide 42: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – MAVIR

## Slide 43: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – Tennet Netherlands

## Slide 44: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – PSE

## Slide 45: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – Transeletrica

## Slide 46: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO – ELES

## Slide 47: KPI 7C - Most often used pre-solved CNECs​ ​
Mean and Max of pre-solved constraints per TSO - SEPS

## Slide 48: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Austria

## Slide 49: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Belgium

## Slide 50: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Croatia

## Slide 51: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Czech Republic

## Slide 52: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Germany

## Slide 53: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – France

## Slide 54: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Hungary

## Slide 55: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Netherlands

## Slide 56: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Poland

## Slide 57: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Romania

## Slide 58: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Slovenia

## Slide 59: KPI 8A – Min and Max Net Positions per Bidding Zone​
Based on final FB domain – Slovakia

## Slide 60: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Austria

## Slide 61: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Belgium

## Slide 62: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Croatia

## Slide 63: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Czech Republic

## Slide 64: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Germany

## Slide 65: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – France

## Slide 66: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Hungary

## Slide 67: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Netherlands

## Slide 68: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Poland

## Slide 69: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Romania

## Slide 70: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Slovenia

## Slide 71: KPI 8B – Min and Max Net Positions per Bidding Zone​
Based on final ID ATC – Slovakia